NON-PRIORITY PROJECT WATER QUALITY PLAN

(NPP)

For:

(Insert Project Name)

(Site Address or Tract/Lot Number)

Prepared for:

(Insert Owner/Developer Name)

(Insert Address)

(Insert City, State, ZIP)
(Insert Contact Name)

(Insert Telephone)

(Insert Email Address)

Prepared by:

(Insert Preparer or Consulting/Engineering Firm Name)

(Insert Address)

(Insert City, State, ZIP)
(Insert Contact Name)

(Insert Telephone)

(Insert Email Address)

(Insert Date Prepared/Revised)

Reviewed for compliance with the Local Implementation Plan:

​​​​​​​​​​​​​​​​
Non-Priority Project Water Quality Plan (NPP)
The Orange County Stormwater Program has developed this Non-Priority Project Water Quality Plan (NPP) for new development / significant redevelopment projects that do not meet the criteria for Priority Projects as defined within the County’s Model Water Quality Management Plan (see Model WQMP Sections 1.3 and 1.4) but that qualify as Non-Priority Projects as defined in the Drainage Area Management Plan (DAMP).  These projects are required under the Santa Ana Regional Board MS4 Permit (North Orange County Permit) to “document, via a WQMP or similar mechanism, site design, source control and any other BMPs which may or may not include treatment control BMPs”.  There is no similar requirement under the San Diego Regional Board MS4 Permit (South Orange County).  This plan covers both private and public agency projects that qualify as Non-Priority Projects.
Qualifying Non-Priority Projects are projects that do not fall under one of the Priority Project Categories defined within the Model WQMP but meet one of the following conditions:

· Require discretionary action that will include a precise plan of development, except for those projects exempted by the Water Quality Ordinance (as applicable); or

· Require issuance of a non-residential plumbing permit for hazardous pipelines as defined in the County or local Water Quality / Stormwater Ordinance. Non-residential plumbing projects that do not pose a potential threat to public safety do not require a WQMP for approval. 
A “discretionary action” under CEQA is defined as “an activity which requires the public agency to exercise judgment in deciding whether to approve or disapprove the particular activity, as distinguished from situations where the public agency merely has to determine whether there has been conformity with applicable ordinances or other laws.” (California Public Resources Code § 21080(a); CEQA Guidelines § 15357).   Examples of discretionary actions include: feature plans, area plans, use permits, site development permits and special use permits.  “Ministerial actions” under CEQA are those where little or no judgment or deliberation by a Permittee is required or possible. Generally, the only example of a ministerial approval action that would qualify as a Non-Priority Project would be a project that requires the issuance of a Non-Residential Plumbing Permit.
All other projects and activities that only require a ministerial grading or building permit for which the Permittee has no discretion to approve do not fall under the requirements of this new development program, with the exception of projects that require a Non-Residential Plumbing Permit.

This plan is provided for summarizing basic project information and stormwater Best Management Practices that are planned for controlling discharges of pollutants from proposed Non-Priority Projects and identify applicable source conrol BMPs, site design features, and determine BMP maintenance requirements. Non-Priority Project proponents are required to complete the plan for local jurisdiction review and approval. Applicable sections of the Technical Guidance Document are referenced for assistance with completing each NPP section. All Non-Priority Project Water Quality Plans must be in compliance with the Local Implementation Plan developed by each local agency. The local jurisdiction may request additional information necessary for local Non-Priority Project review and approval. 

Local jurisdictions may modify existing templates for local program implementation to incorporate the information contained in this Plan provided all information necessary to meet requirements contained in the MS4 Permit and the DAMP for Non-Priority Projects are contained within the local plan.

Non-Priority Project Water Quality Plan
Contents
Section I: General Information……………………….……………………………….. 3
Section II: Project Description……………………………………………………….... 5

Section III: Site Description……………………………………………………….……6
Section IV: Best Management Practices (BMPs)…………………...............................7
Section V: Inspection and Maintenance Responsibilities…………………………... 13
Section VI: Plot Plan…………………………………………………………….……. 14
References: 
Model WQMP

Technical Guidance Document

California BMP Handbooks

Non-Priority Project Water Quality Plan
Section 1 – General Information
See Technical Guidance Document Section 2.2.1 for additional information.
	Project Name
	

	Tract
	

	Lot
	

	APN
	

	Planning Area
	


Prepared For:

	Owner/Developer
	

	Address
	

	
	

	Phone
	

	Fax
	


Prepared by:

	Name
	

	Address
	

	
	

	Phone
	

	Email
	

	Fax
	


Dates:

	Date Prepared
	

	Date(s) Revised
	

	Date Finalized
	


Owner’s Certification

This Non-Priority Project Water Quality Plan has been prepared for:

	Owner/Developer Name


By:

	Preparer’s Name


The plan is intended to comply with the Non-Priority Project requirements of the Local Implementation Plan (LIP) §A-7.5.1 as required in the Orange County Drainage Management Plan (DAMP) § 7.6.2.

The undersigned, while it owns the subject property, is responsible for the implementation of the provisions of this plan. Once the undersigned transfers its interests in the property, its successor-in-interest shall bear the aforementioned responsibility to implement the best management practices (BMP) described within this plan.  A signed copy of this document shall be available on the subject property into perpetuity.

	Signed
	

	Name
	

	Title
	

	Company
	

	Address
	

	
	

	Phone
	

	Date
	


Section II: Project Description
Please provide a detailed description of the project’s ownership, type of development project, amount of paved and landscaped area, and potential pollutants that may be generated by the intended development uses. See Technical Guidance Document Section 2.2 for additional information.
	Property Ownership



	

	

	

	Project Description



	

	

	

	

	

	

	

	Paved Areas



	

	

	

	

	

	Landscaped Areas



	

	

	

	

	

	Potential Stormwater Pollutants (see Technical Guidance Document Section 2.2.2)


	

	

	

	


Section III: Site Description
See Technical Guidance Document Section 2.3 for additional information.

	Address
	

	
	

	Planning Area
	

	Land Use
	

	Zoning
	

	Acreage
	

	Predominant Soil Type
	


Drainage Conditions

Please provide site drainage details, including how site drainage ties into adjacent property drainage patterns, local storm drain systems, and downstream receiving waters.
	

	

	

	

	

	

	

	


Pre-Project Pervious Conditions
	
	Area (acres or sq ft)
	Percentage

	Pervious
	
	

	Impervious
	
	


Completed Project Pervious Conditions
	
	Area (acres or sq ft)
	Percentage

	Pervious
	
	

	Impervious
	
	


Watershed Information
Your local municipality stormwater program management staff may assist you with this information.
	Watershed
	

	Receiving Waters
	

	303(d) Impairments
	

	TMDLs
	

	Known ESAs
	

	Known ASBSs
	


Section IV: Best Management Practices (BMPs)

Site Design BMPs

Site Design BMPs reduce the volume of stormwater runoff generated on a project site as well as improve the quality of runoff that leaves the site, and are required for all proposed Non-Priority new development and significant redevelopment projects. Descriptions of the most common Site Design BMPs are provided in County’s Technical Guidance Document (see Technical Guidance Document Sections 3 and 4). A list of typically employed Site Design BMPs may be found in the California BMP Handbooks (California Stormwater Quality Association).
The following table provides a list of Site Design BMPs that may be applicable for Non-Priority Projects. Please identify each Site Design BMP included for the project, and briefly describe within the table.
Site Design BMPs
	Name
	Check If Included
	Brief Description

	Hydrologic Source Controls
	
	

	Retention Grading
	
	

	Downspout Dispersion
	
	

	Downspout Infiltration
	
	

	Amended Soils Over Tight Underlying Soils
	
	

	Street Trees, Canopy Interception
	
	

	Residential Rain Barrels Not Actively Managed
	
	


Site Design BMPs (continued)
	Name
	Check If Included
	Brief Description

	Infiltration
	
	

	Bioretention without Underdrains
	
	

	Rain Gardens
	
	

	Porous Landscaping
	
	

	Infiltration Planters
	
	

	Retention Swales
	
	

	Infiltration Trenches
	
	

	Infiltration Basins
	
	

	Drywells
	
	

	Subsurface Infiltration Galleries
	
	

	French Drains
	
	

	Permeable Asphalt
	
	

	Permeable Concrete
	
	

	Permeable Concrete Pavers
	
	


Site Design BMPs (continued)
	Name
	Check If Included
	Brief Description

	Evapotranspiration
	
	

	Green Roofs, Brown Roofs, 
Blue Roofs
	
	

	Rainwater Harvesting
	
	

	Above-ground Rain Barrels
	
	

	Above-ground Cisterns
	
	

	Underground Tanks
	
	

	Biotreatment
	
	

	Bioretention with Underdrains
	
	

	Stormwater Planter Boxes with Underdrains
	
	

	Rain Gardens with Underdrains
	
	

	Constructed Wetlands
	
	

	Vegetated Swales
	
	

	Vegetated Filter Strips
	
	

	Compost-Amended Road Shoulders
	
	

	Proprietary (Ready-To-Install) Vegetated Biotreatment Systems
	
	


SOURCE CONTROL BMPs
Source Control BMPs, both non-structural and structural, are required for Non-Priority Projects where applicable to project features. Please identify each applicable Source Control BMP within the following tables. See Technical Guidance Document Section 6 for additional information.
Non-Structural Source Control BMPs

	Identifier
	Name
	Check One

	
	
	Included
	Not Applicable

	N1
	Education for Property Owners, Tenants and Occupants
	
	

	N2
	Activity Restrictions
	
	

	N3
	Common Area Landscape Management (CASQA BMP Handbook SC-73)
	
	

	N4
	BMP Maintenance
	
	

	N5
	Title 22 CCR Compliance (How development will comply)
	
	

	N6
	Local Industrial Permit Compliance
	
	

	N7
	Spill Contingency Plan (CASQA BMP Handbook SC-11)
	
	

	N8
	Underground Storage Tank Compliance
	
	

	N9
	Hazardous Materials Disclosure Compliance
	
	

	N10
	Uniform Fire Code Implementation
	
	

	N11
	Common Area Litter Control (CASQA BMP Handbook SC-60)
	
	

	N12
	Employee Training
	
	

	N13
	Housekeeping of Loading Docks (BMP Handbook SD-31)
	
	

	N14
	Common Area Catch Basin Inspection (BMP Handbook SC-74)
	
	

	N15
	Street Sweeping Private Streets and Parking Lots (CASQA BMP Handbook SC-43, SC-70)
	
	

	N16
	Commercial Vehicle Washing
	
	


Structural Source Control BMPs

	Name (with CA BMP Handbook Reference)
	Check One

	
	Included
	Not Applicable

	Storm Drain System Stenciling And Signage  (SD-13)
	
	

	Outdoor Material Storage Area Controls(SD-34)
	
	

	Trash And Waste Storage Area Controls(SD-32)
	
	

	Efficient Irrigation Systems (SD-12)
	
	

	Slope And Channel Protection 
	
	

	Loading Dock Area Controls(SD-31)
	
	

	Maintenance Bay Controls(SD-31)
	
	

	Vehicle Wash Area Controls(SD-33)
	
	

	Outdoor Processing Area Controls (SD-36)
	
	

	Equipment Wash Area Controls(SD-33)
	
	

	Fueling Area Controls (SD-30)
	
	

	Hillside Planting  And Landscaping (SD-10)
	
	

	Wash Water Control For Food Preparation Areas
	
	

	Community Car Wash Racks
	
	


Source Control BMP Implementation

Please describe implementation frequency and the party responsible for implementation of each Source Control BMP.
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	


Other BMPs
Other BMPs or devices incorporated to remove pollutants from runoff leaving the project site, which may or may not include Treatment Control BMPs (see Technical Guidance Document Section 4.6), are not required for Non-Priority Projects though may be appropriate under certain conditions. Please provide details on any other BMPs selected for this project.
	

	

	

	

	

	

	

	

	

	

	

	

	

	

	


Section V: Inspection and Maintenance Responsibilities

BMPs implemented for Non-Priority Projects must be inspected and maintained post-construction for proper effectiveness into perpetuity. Please document BMP inspection and maintenance information within the table below. See Technical Guidance Document Section 7 for additional information.
	BMP Inspection / Maintenance

	BMP
	Reponsible

Party(s)
	Inspection / Maintenance

Activities Required
	Minimum Frequency of Activities

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Section VI: Plot Plan

A plot plan must be provided that contains the following project features:
· Each facility and its intended function (if multiple facilities and uses are present onsite)

· Areas of outdoor activities (if applicable)

· Applicable Structural Source Control BMPs and any Treatment Control BMPs
· Drainage flow information

· Storm drain facilities

· Relationship between onsite drainage and offsite drainage

The plot plan must contain the following labels:

· Title Block
· Drainage Plot Plan

· Project Name
· Address
· Owner
· Label plot as “Section VI”
· Legend

· North Arrow

· Scale

Project proponents should submit the plot plan with BMP details in electronic drawing or GIS format.  
1
2

